0101010101010101010101
0101010101010101010101

0101010101010101010101
0101010101010101010101

[image: image1.png]



0101010101010101010101
0101010101010101010101

0101010101010101010101
0101010101010101010101

0101010101010101010101
0101010101010101010101

0101010101010101010101
0101010101010101010101

0101010101010101010101
0101010101010101010101

0101010101010101010101
0101010101010101010101

010101010 [image: image2.png]



SIGLENT TECHNOLOGIES CO., LTD

[image: image3.jpg]A
6] 6] 6] ©) = =
N e




[image: image4.png]


[image: image5.png]


[image: image6.jpg]


[image: image7.png]100 .x‘@




Люминофорные Осциллографы
[image: image8.jpg]



Модельный ряд SDS5000X

[image: image9.png]



SDS5104X / SDS5102X (1 GHz)

SDS5054X / SDS5052X (500 MHz)

SDS5034X / SDS5032X (350 MHz)

Основные х-ки и преимущества:

· 1 GHz, 500 MHz, 350 MHz models with real-time sample rate up to 5 GSa/s

· SPO technology

· Waveform capture rates up to 110,000 wfm/s (normal mode), and 500,000 wfm/s (sequence mode)

· Supports 256-level intensity grading and color temperature display modes

· Record length up to 250 Mpts/ch, 500 Mpts in total for all 4 channels

· Digital trigger system

· Intelligent trigger: Edge, Slope, Pulse, Window, Runt, Interval, Dropout,

Pattern, Qualified, Nth edge, Setup/hold, Delay and Video (HDTV supported). Trigger zone helps to simplify advanced triggering

· Serial bus triggering and decoder, supports protocols I2C, SPI, UART, CAN, LIN, CAN FD, FlexRay, I2S and MIL-STD-1553B

· Low background noise, supports 0.5 mV/div to 10 V/div voltage scales

· Segmented acquisition (Sequence) mode, dividing the maximum record length into multiple segments (up to 100,000), according to trigger conditions set by the user, with a very small dead time between segments to capture the qualifying event

· History waveform record (History) function, the maximum recorded waveform length is 100,000 frames

· Automatic measurement function on 50+ parameters, supports statistics with histogram,trend, Gating measurement, Math measurement, History measurement and Ref measurement

· Math function (2 Mpts FFT, addition, subtraction, multiplication, division, integration, differential, square root, etc.), supports formula editor Abundant data analysis functions such as Search, Navigate, Digital Voltmeter, Counter, Waveform Histogram, Bode plot and Power Analysis

· High Speed hardware-based Average, ERES (Enhanced Resolution)

· High Speed hardware-based Mask Test function, with Mask Editor tool for creating user-defined masks

· 16 digital channels (optional) with sample rate up to 1.25 GSa/s, record length up to 62.5 Mpts

· 25 MHz function / arbitrary waveform generator, built-in multiple predefined waveforms

· Large 10.1” TFT-LCD display with 1024 * 600 resolution; Capacitive touch screen supports multi-touch gestures

· Supports external mouse and keyboard

· 10 types of one-button shortcuts

· Multiple interfaces: USB Host, USB Device (USBTMC), LAN (VXI-11, telnet, socket, web), Pass/Fail, Trigger Out, 10 MHz In, 10 MHz Out, VGA output

· Built-in web server supports remote control by the LAN port using a web browser

· Supports SCPI remote control commands



Модельный ряд SDS2000X

[image: image10.png]



SDS2354X Plus (350 MHz)

SDS2204X Plus (200 MHz)

SDS2104X Plus / SDS2102X Plus (100 MHz)

Основные х-ки и преимущества:

· 350 MHz, 200 MHz, 100 MHz models with real-time sample rate up to 2 GSa/s. A 500 MHz bandwidth upgrade option is available for 350 MHz models.

· SPO technology

· Waveform capture rates up to 120,000 wfm/s (normal mode) and 500,000 wfm/s (sequence mode)

· Supports 256-level intensity grading and color temperature display modes

· Record length up to 200 Mpts/ch, 400 Mpts in total for all 4 channels

· Digital trigger system

· Intelligent trigger: Edge, Slope, Pulse, Window, Runt, Interval, Dropout,

Pattern and Video (HDTV supported). Trigger zone helps to simplify advanced triggering

· Serial bus triggering and decoder, supports I2C, SPI, UART, CAN, LIN (Standard) and CAN FD, FlexRay, I2S, and MIL-STD-1553B (optional) protocols

· Low background noise, features 0.5 mV/div to 10 V/div voltage scales

· 10-bit mode provides higher resolution and lower noise

· Segmented acquisition (Sequence) mode, dividing the maximum record length into multiple segments (up to 90,000), according to trigger conditions set by the user, with a very small dead time between segments to capture the qualifying event

· History waveform record (History) function for up to 90,000 triggered waveforms (frames)

· Automatic measurement function on 50+ parameters, supports statistics with histogram and trend

· Two Math traces, support 2 Mpts FFT, +, -, x, ÷, d/dt, ∫dt, √, average, ERES, and formula editor

· Abundant data processing and analysis functions such as Search,

Navigate, Mask Test, Bode plot, Power Analysis (optional) and Counter

· 16 digital channels (optional)

· Built-in 50 MHz waveform generator (optional)

· Large 10.1” TFT-LCD display with 1024x600 resolution; Capacitive touch screen supports multi-touch gestures

· Multiple interfaces: USB Host, USB Device (USBTMC), LAN(VXI-11/Telnet/ Socket), Pass/Fail, Trigger Out

· Built-in web server supports remote control by the LAN port using a web browser; Supports SCPI remote control commands

www.siglent.com

[image: image11.jpg]


[image: image12.jpg]


[image: image13.png]


[image: image14.jpg]


[image: image15.png]


 Люминофорные Осциллографы
[image: image16.png]



Модельный ряд SDS2000X
[image: image17.jpg]



SDS2302X / SDS2304X (300 MHz)

SDS2202X / SDS2204X (200 MHz)

SDS2102X / SDS2104X (100 MHz)

SDS2072X / SDS2074X (70 MHz)

Основные х-ки и преимущества:

· 70 MHz, 100 MHz, 200 MHz, 300 MHz models

· Real-time sampling rate up to 2 GSa/s

· New generation of SPO technology

· Waveform capture rate up to 140,000 wfm/s (normal mode), and 500,000 wfm/s (sequence mode)

· Supports 256-level intensity grading and color temperature display

· Record length up to 140 Mpts

· Digital trigger system

· Intelligent trigger: Edge, Slope, Pulse, Window, Runt, Interval,

Dropout, Pattern and Video (HDTV supported)

· Serial bus triggering and decoder, supports protocols I²C, SPI, UART, RS232, CAN and LIN

· Low background noise, supports 1 mV/div to 10 V/div voltage scales

· 10 types of one-button shortcuts, including Auto Setup, Default, Cursors, Measure, Roll, History, Display/Persist, Clear Sweeps, Zoom and Print

· Segmented acquisition (Sequence) mode, dividing the maximum record length into multiple segments (up to 80,000), according to trigger conditions set by the user, with a very small dead time segment to capture the qualifying event

· History waveform record (History) function, the maximum recorded waveform length is 80,000 frames

· Automatic measurement function on 37 parameters, Supports statistics, Gating measurement, Math measurement, History measurement and Ref measurement

· Math function (FFT, addition, subtraction, multiplication, division, integration, differential, square root)

· High Speed hardware based Pass / Fail function

· 16 Digital channels (MSO), Maximum waveform capture rate up to 500 MSa/s,

Record length up to 140 Mpts/CH

· 25 MHz function/arbitrary waveform generator, built-in 10 types of waveforms

· Large 8 inch TFT-LCD display with 800 * 480 resolution

· Abundant interfaces: USB Host, USB Device (USBTMC), LAN (VXI-11), Pass / Fail, Trigger Out

· Supports SCPI remote control commands

· Supports Multi-language display and embedded online help



Модельный ряд SDS2000X-E

[image: image18.jpg]0.000V/ ||70.000V
0.000A || ~0.000A





SDS2352X-E (350 MHz)

SDS2202X-E (200 MHz)

Основные х-ки и преимущества:

· Real-time sampling rate up to 2 GSa/s (1 GSa/s per channel, if both channels active)

· Intelligent trigger: Edge, Slope, Pulse Width, Window, Runt, Interval, Time out (Dropout), Pattern

· Serial bus triggering and decoding (standard), supports protocols IIC, SPI,

UART, CAN, LIN

· Video trigger, supports HDTV

· Low background noise with voltage scales from 500 μV/div to 10 V/div

· 10 types of one-button shortcuts, supports Auto Setup, Default, Cursors, Measure, Roll, History, Display/Persist, Clear Sweep, Zoom and Print

· Segmented acquisition (Sequence) mode, divides the maximum record length into multiple segments (up to 80,000), according to trigger conditions set by the user, with a very small dead time segment to capture qualifying events

· History waveform record (history) function (maximum recorded waveform length is 80,000 frames)

· Automatic measurement function for 38 parameters as well as Measurement Statistics, Zoom, Gating, Math, History and Reference functions

· 1 Mpts FFT

· Math and measurement functions use all sampled data points in memory (up to 28 Mpts)

· Preset key can be customized for user settings or factory “defaults”

· Security Erase mode

· High Speed hardware based Pass / Fail function

· Search and navigate

· Large 7 inch TFT -LCD display with 800 * 480 resolution

· Multiple interface types: USB Host, USB Device (USB -TMC), LAN, Pass / Fail, Trigger Out

· Supports SCPI remote control commands

· VXI-11+SCPI, Telnet (port 5024) +SCPI and Socket (port 5025) +SCPI programming over LAN

· Supports web control and virtual instrument control panel for both PC and mobile terminals

· Web control update rate of up-to 10 times/s provides nearly real-time update rate

· Supports Multi-language display and embedded online help

www.siglent.com

[image: image19.png]


[image: image20.png]SIG ENT"
HandheldDigitlOselocope




[image: image21.jpg]


[image: image22.png]I] 49646V 09962A
49w a0




[image: image23.png]


 Люминофорные Осциллографы
[image: image24.jpg]



[image: image25.jpg]



Модельный ряд SDS1000X-E
[image: image26.jpg]



SDS1204X-E / SDS1202X-E (200 MHz)

SDS1104X-E (100 MHz)

Основные х-ки и преимущества:

· Two channel series have one 1 GSa/s ADC, four channel series have two 1 GSa/s ADCs. When all channels are enabled, each channel has a maximum sample rate of 500 MSa/s. When a single channel per ADC is active, it has sampling rate of 1 GSa/s

· The newest generation of SPO technology

· Waveform capture rate up to 100,000 wfm/s (normal mode), and 400,000 wfm/s (sequence mode)

· Supports 256-level intensity grading and color display modes

· Record length up to 14 Mpts

· Digital trigger system

· Intelligent trigger: Edge, Slope, Pulse Width, Window, Runt, Interval, Time out (Dropout), Pattern

· Serial bus triggering and decoding (Standard), supports protocols IIC, SPI,

UART, RS232, CAN, LIN

· Segmented acquisition (Sequence) mode, divides the maximum record length into multiple segments (up to 80,000), according to trigger conditions set by the user, with a very small dead time segment to capture the qualifying event.

· 1 Mpts FFT

· Math and measurement functions use all sampled data points (up to 14 Mpts)

· MSO, 16 digital channels (four channel series only, optional)

· Search and navigate (four channel series only)

· USB AWG module (four channel series only, optional)

· USB WIFI adapter (four channel series only, optional)

· Bode plot (four channel series only)



Модельный ряд SDS1000X / SDS1000X+ 
SDS1202X / SDS1202X+ (200 MHz)

SDS1102X+ (100 MHz)

Основные х-ки и преимущества:

· 100 MHz, 200 MHz bandwidth models

· Real-time sampling rate up to 1 GSa/s

· New generation of SPO technology

· Waveform capture rate up to 60,000 wfm/s (normal mode),and 400,000 wfm/s (sequence mode)

· Supports 256-level intensity grading and color temperature display

· Record length up to 14 Mpts

· Digital trigger system

· Intelligent trigger: Edge, Slope, Pulse Width, Window, Runt, Interval, Time out (Dropout), Pattern

· Serial bus triggering and decode, supports protocols IIC, SPI, UART, RS232,

CAN, LIN

· Video trigger, supports HDTV

· Low background noise, supports 500 μV / div to 10 V / div voltage scales

· 10 types of one-button shortcuts, supports Auto Setup, Default, Cursors, Measure, Roll, History, Display/Persist, Clear Sweep, Zoom and Print

· Segmented acquisition (Sequence) mode, dividing the maximum record length into multiple segments (up to 80,000), according to trigger conditions set by the user, with a very small dead time segment to capture the qualifying event

· History waveform record (History) function, the maximum recorded waveform length is 80,000 frames

· Automatic measurement function on 37 parameters, supports Statistics, Gating measurement, Math measurement, History measurement and Ref measurement

· Math function (FFT, addition, subtraction, multiplication, division, integration, differential, square root)

· High Speed hardware based Pass/ Fail function

· 16 Digital channels (MSO), Maximum waveform capture rate up to 500 MSa/s,

Record length up to 140 Mpts/CH (Option for SDS1000X+ models)

· 25 MHz DDS arbitrary waveform generator, built-in 10 kinds of waveforms (Standard for SDS1000X+ models)

· Large 8 inch TFT-LCD display with 800 * 480 resolution

· Abundant interfaces: USB Host, USB Device (USB-TMC), LAN (VXI-11), Pass / Fail, Trigger Out

· Supports SCPI remote control commands

· Supports Multi-language display and embedded online help

www.siglent.com

[image: image27.jpg]


[image: image28.png]


Цифровые запоминающие осциллографы
[image: image29.png]



[image: image30.png][Ty





Модельный ряд SDS1000DL+ / SDS1000CML+ 

[image: image31.png]



SDS1152CML+ (150 MHz)

SDS1102CML+ (100 MHz)

SDS1072CML+ (70 MHz)

SDS1052DL+ (50 MHz)

Основные х-ки и преимущества:
· 50 MHz, 70 MHz, 100 MHz, 150 MHz bandwidth models

· Real-time sampling rate up to 1 GSa/s, Equivalent-time sampling rate up to 50 GSa/s

· Memory Depth up to 2 Mpts

· Trigger types: Edge, Pulse, Video, Slope, Alternate

· Waveform math functions:+, -, *, /, FFT

· 6 digits frequency counter

· Supports Multi-language display and embedded online help

· Screensaver from 1 minute to 5 hours

· Digital filter and waveform recorder function

· 7 inch TFT-LCD display with 800 * 480 resolution



Функциональные генераторы и генераторы произвольных форм сигналов
Модельный ряд SDG6000X

[image: image32.png]



SDG6052X (500 MHz)

SDG6032X (350 MHz)

SDG6022X (200 MHz)

Основные х-ки и преимущества 
· Innovative TrueArb and EasyPulse technology

· Dual-Channel, 500 MHz maximum bandwidth, 20 Vpp maximum output amplitude, high fidelity output with 80 dB dynamic range

· High-performance sampling system with 2.4 GSa/s sampling rate and 16-bit vertical resolution

· Multi-function signal generator, meeting requirements in wide range,

Continuous Wave Generator, Pulse Generator, Function Arbitrary Waveform Generator, IQ Signal Generator (optional), Noise Generator, PRBS Generator

· Sweep and Burst function

· Harmonics function

· Waveform Combining function

· Channel Coupling, Copy and Tracking function

· 196 built-in arbitrary waveforms

· High precision Frequency Counter

· Standard interfaces include: USB Host, USB Device (USBTMC), LAN (VXI-11, Socket, Telnet), GPIB (Optional)

· 4.3” touch screen display for easier operation

[image: image33.png]



Модельный ряд SDG800

[image: image34.png]SR AV 4 R0l




SDG830 (30 MHz)

SDG810 (10 MHz)

Основные х-ки и преимущества
· Advanced DDS technology, 3.5 inch color TFT-LCD

· 125 MSa/s sampling rate,14 bit vertical resolution,16 Kpts max wave length

· 5 types of standard waveforms, built-in 46 types of arbitrary waveforms, sync signal output, 1 μHz frequency resolution

· Complete modulation functions: AM,DSB-AM, FM, PM, FSK, ASK, PWM, linear/ logarithmic sweep and burst

· Innovative EasyPulse technology, can output pulse of low jitter, quick rising/ falling edge

· Support USB-TMC protocol and SCPI programming command control

· Arbitrary waveform edit software, provides lots of painting method, capable of edit complicate waveform quickly and precisely

www.siglent.com

[image: image35.png]


 Функциональные генераторы и генераторы произвольных форм сигналов

Модельный ряд SDG2000X
SDG2122X (120 MHz)

SDG2082X (80 MHz)

SDG2042X (40 MHz)

Основные х-ки и преимущества

· Dual-channel, 120 MHz maximum bandwidth, 20 Vpp maximum output amplitude, high fidelity output with 80 dB dynamic range

· High-performance sampling system with 1.2 GSa/s sampling rate and 16-bit vertical resolution. No detail in your waveforms will be lost

· Innovative TrueArb technology, based on a point-by-point architecture, supports any 8 pts~8 Mpts Arb waveform with a sampling rate in range of

1 μSa/s~75 MSa/s

· Innovative EasyPulse technology, capable of generating lower jitter Square or

Pulse waveforms, brings a wide range and extremely high precision in pulse width and rise/fall time adjustments

· Sweep and Burst function; Harmonics mode supported

· 4.3” touch screen display for easier operation

[image: image36.png]



 Программируемый линейный источник постоянного тока
Модельный ряд SPD1000X

[image: image37.png]



SPD1168X (16 V/8 A)

SPD1305X (30 V/5 A)

Основные х-ки и преимущества
· Single path high-precision programmable voltage output

· 16 V/8 A, total power up to 128 W

· 30 V/5 A, total power up to 150 W

· Stable, reliable, Low ripple and noise：≤ 350 uVrms/3 mVpp; < 2 mArms Fast transient response time: < 50 μs

· 5 digit Voltage, 4 digit Current Display, Minimum Resolution: 1 mV/1 mA

· Supports front panel timing output functions

· 2.8 inch true color TFT- LCD 240 *320 display

· 2 types of output modes：Two-wire output mode, 4-wire compensation output • mode, Maximum compensation voltage 1 V

· 100/120/220/230 V compatible design to meet the needs of different power grids

· Intelligent temperature-controlled fan reduces noise

· Clear graphical interface, with the waveform display function

· Internal 5 groups of system parameter save/recall

· Includes PC software: Easypower, supports SCPI, LabView driver

[image: image38.png]ver I [ | |





Модельный ряд SDG1000X

SDG1062X (60 MHz)

SDG1032X (30 MHz)

Основные х-ки и преимущества
· 150 MSa/s sampling rate, 14-bit vertical resolution, and 16 kpts waveform length

· Innovative TrueArb and EasyPulse technology

· Special circuit for Square wave function, can generate Square waves up to 60

MHz with jitter less than 300 ps+0.05 ppm of period

· Plenty of analog and digital modulation types: AM, DSB-AM, FM, PM, FSK, ASK, PSK and PWM, Sweep and Burst functions

· Waveform Combining function

· High precision Frequency Counter

· Standard interfaces: USB Host, USB Device (USBTMC), LAN (VXI-11)

· Optional interface: GPIB

www.siglent.com



Модельный ряд SPD3303C
[image: image39.png]



SPD3303C (10 mv,10 mA)

Основные х-ки и преимущества
· 3 independent high precision output: 30 V/3 A*2, 2.5 V/3.3 V/5 V/3 A*1, total 195 W power

· 4 digits voltage and 3 digits current display, min resolution: 10 mV, 10 mA

· Support timing programming and timing output

· Three output modes: independent, series and parallel connect, enhance output power range

· 100 V/120 V/220 V/230 V compatible design, to meet the need of different power grids

· Smart temperature controlled fan, effectively reduce the noise

· Save/Recall 5 group system specifications, support data storage expansion

· provide EasyPower software to meet the control and communication needs

· Support USB-TMC protocol and SCPI remote command, LabView driver

[image: image40.png]


 Программируемый линейный источник постоянного тока
[image: image41.png]IGLENT"

S





Модельный ряд SPD3303X

SPD3303X-E (10 mv, 10 mA)

SPD3303X (1 mv, 1 mA)

Основные х-ки и преимущества
· 3 independent controlled and isolated outputs, 32 V/3.2 A×2,

2.5 V/3.3 V/5 V/3.2 A×1, total 220 W

· 5 digits Voltage, 4 digits Current Display, Minimum Resolution: 1 mV/1 mA

(SPD3303X)

· Supports front panel timing output functions

· 4.3 inch true color TFT- LCD 480x272 display

· 3 types of output modes: independent, series, parallel

· 100 V/120 V/220 V/230 V compatible design to meet the needs of different power grids

· Intelligent temperature-controlled fan, effectively reducing noise

· Clear graphical interface, with the waveform display function

· Internal 5 groups of system parameter save/recall, supports data storage space expansion

· Provides PC software: Easypower, supports SCPI, LabView driver


Портативные осциллографы

Модельный ряд SHS1000


SHS1102 (100 MHz)

SHS1062 (60 MHz)

Основные х-ки и преимущества
· Completely isolated oscilloscope channels, isolated between oscilloscope and multimeter channels

· Oscilloscope isolation level : CAT I 1000 V and CAT II 600 V

· Combines the functions of oscilloscope, multimeter and recorder in one instrument

· Support waveform print and USB storage

· 60/100 MHz bandwidth , 2 input channels, 2 Mpts memory depth

· 1 GSa/s real time sampling rate,50 GSa/s equivalent sampling rate

· Equipped with high precision multimeter and many usual testing functions

· 3 kinds of cursor mode, 32 kinds of automatic waveform measurements

· 5.7 inch color TFT-LCD

· Support trend plot and long time data recorder function


Модельный ряд SHS800


SHS820 (200 MHz)

SHS810 (100 MHz)

SHS806 (60 MHz)

Основные х-ки и преимущества 
· Combines the functions of oscilloscope, multimeter and recorder in one instrument

· Support waveform print and USB storage

· 60/100/200 MHz bandwidth, 2 input channels, 2 Mpts memory depth

· 1 GSa/s real time sampling rate, 50 GSa/s equivalent sampling rate

· Equipped with high precision multimeter and many usual testing functions

· 3 kinds of cursor mode, 32 kinds of automatic waveform measurements

· 5.7 inch color TFT-LCD

· Support trend plot and long time data recorder function

www.siglent.com

•

•

•

•

•

Программируемая Электронная нагрузка DC 

Модельный ряд SDL1000X

SDL1020X/X-E (200W)

SDL1030X/X-E (300W)

Основные х-ки и преимущества
· SDL1020X (Single channel ): DC 150 V/30 A, total power up to 200 W

· SDL1030X (Single channel ): DC 150 V/30 A, total power up to 300 W

· 4 static modes / Dynamic mode: CC/CV/CR/CP

· CC Dynamic mode: Continuous, pulsed, toggled

· CC Dynamic mode: 25 kHz, CP Dynamic mode: 12.5 kHz, CV Dynamic mode: 0.5 Hz

· Measuring speed of voltage and current: up to 500 kHz

· Adjustable current rise time range: 0.001 A/us~2.5 A/us

· Min. readback resolution: 0.1 mV, 0.1 mA

· Short-circuit, Battery test, CR-LED mode, and factory test functions

· 4-wire SENSE compensation mode function

· List function supports editing as many as 100 steps

· Program function supports 50 groups of steps

· OCP, OVP, OPP, OTP and LRV protection

· External analog control

· Voltage, Current monitoring via 0-10 V

· 3.5 inch TFT-LCD display, capable of displaying multiple parameters and states simultaneously

· Built-in RS232/USB/LAN communication interface, USB-GPIB module

(optional)

· Waveform trend chart and ease-to-use file storage and call functions

· Includes PC software: Supports SCPI, LabView driver



Цифровой Мультиметр

Модельный ряд SDM3065X


SDM3065X

SDM3065X-SC (with Scanner Card)

Основные х-ки и преимущества
· 4.3” TFT-LCD, 480*272

· Real 6½ digits readings resolution (2,200,000 counts)

· 1Gb Nand flash size, Mass storage configuration files and data files

· True-RMS AC Voltage and AC Current measuring

· Supports double display, Chinese and English Menu

· File management (support for U-disc and local storage)

· Built-in cold terminal compensation for thermocouple

· Comes with easy, converient and flexble any sensor measurement control software: EasyDMM

· Standard interfaces: USB Device, USB Host, LAN (Optional Accessories: USB-GPIB Adapter)

· Scanner Card SC1016 (Only for SDM3065X-SC)

· Built-in Hlep system makes information acquisition easier

· Support remote control operation via SCPI commands. Compatible with commands of other main stream multimeters

· Supports intelligent management system for laboratory based on BS framework and LAN


Модельный ряд SDM3055


SDM3055

SDM3055-SC (с картой сканирования)

Основные х-ки и преимущества
Real 5½ digits readings resolution ( 240, 000 counts )

Up to 150 rdgs/s measurement speed

True-RMS AC Voltage and AC Current measuring

1 Gb Nand flash size, Mass storage configuration files and data files Built-in cold terminal compensation for thermocouple temperature measurements

With easy, convenient and flexible PC software: EasyDMM

standard interfaces: USB Host, LAN ( Optional Accessories USB-GPIB Adapter )

•
Scanner Card SC1016 ( Only for SDM3055-SC )

•
Support remote control operation via SCPI commands.Compatible with

•
commands of main stream multimeters

www.siglent.com

Цифровой мультиметр

Модельный ряд SDM3045X


SDM3045X
Основные х-ки и преимущества
· Real 4½ digit (60000 count) readings resolution

· Up to 150 rdgs/s measurement speed

· True-RMS AC Voltage and AC Current measuring

· 1 Gb NAND flash size, Mass storage configuration files and data files

· Built-in cold terminal compensation for thermocouple

· With easy, convenient and flexible PC software: EasyDMM

· Standard interface: USB Device, USB Host, LAN (Optioanal Accessories: USB-GPIB Adapter)

· USB & LAN remote interfaces support common SCPI command set.

Compatible with other popular DMMs on the market


Генератор РЧ сигналов

Модельный ряд SSG3000X

SSG3032X (CW MODE 9 kHz~3.2 GHz)

SSG3021X (CW MODE 9 kHz~2.1 GHz)

SSG3032X-IQE (IQ MODE 10 MHz~3.2 GHz)

SSG3021X-IQE (IQ MODE 10 MHz~2.1 GHz)

Основные х-ки и преимущества
· 0.01 Hz frequency setting resolution

· Level output from -110 dBm to +13 dBm

· Maximum level up to +20 dBm (typ.)

· Phase Noise: -110 dBc/ Hz @ 1 GHz , 20 kHz offset (typ.)

· Level accuracy ≤0.7 dB (typ.)

· Provides AM, FM, &PM analog modulation with internal, external or Int+Ext source

· Pulse modulation, on/off ratio ≥70 dBc

· Pulse train generator (option)

· External IQ modulation with SDG6000X as the baseband IQ signal

· USB-power meter measurement

· 5 inch TFT capacitive touch screen, mouse and keyboard supported

· Web browser remote control on PC and mobile terminals

· Standard interface include USB Host, USB Device (USB TMC), LAN (VXI-11, Socket, Telnet). Optional interface: GPIB


  Генератор РЧ сигналов

Модельный ряд SSG5000X

SSG5040X (CW MODE 9 kHz ~ 4 GHz)

SSG5060X (CW MODE 9 kHz ~ 6 GHz)

SSG5040X-V (CW MODE 9 kHz ~ 4 GHz / IQ MODE 10 MHz ~ 4 GHz)

SSG5060X-V (CW MODE 9 kHz ~ 6 GHz / IQ MODE 10 MHz ~ 6 GHz)

Основные х-ки и преимущества
· Frequency up to 4 GHz/6 GHz

· 0.001 Hz frequency setting resolution

· High output power up to +26 dBm (typ.)

· Phase Noise: -120 dBc/ Hz @ 1 GHz, 20 kHz offset (typ.)

· User flatness correction with power sensor to correct the cable loss

· Provides AM, FM, PM analog modulation with internal, external or Int+Ext source

· Single pulse, double pulse and Pulse train generator (option)

· Internal IQ modulation with 150 MHz modulation bandwidth with perfect in-factory calibration

· Internal include some digital communication stand file such as 5G-NR, LTE, WCDMA, WLAN, and playback them

· Internal Custom mode generate common IQ signal such as QAM, FSK, ASK,

MSK

· Analog differential I/Q outputs

· External analog I/Q input

· USB-power meter measurement

· 5inch TFT capacitive touch screen, mouse and keyboard supported

· Web browser remote control on PC and mobile terminals

· Standard interface included USB Host, USB Device (USB TMC), LAN (VXI-11, Socket, Telnet). Optional interface: GPIB

www.siglent.com

Анализатор спектра в реальном времени
Модельный ряд SSA3000X-R


SSA3050X-R (9 kHz~5.0 GHz)

SSA3075X-R (9 kHz~7.5 GHz)

Основные х-ки и преимущества:

· -165 dBm/Hz Displayed Average Noise Level (Typ.)

· -98 dBc/Hz.@10 kHz Offset Phase Noise (1 GHz, Typ.)

· Level Measurement Uncertainty < 0.7 dB (Typ.)

· 1 Hz Minimum Resolution Bandwidth (RBW)

· Preamplifier Standard

· Tracking Generator Standard

· Up to 40 MHz Real Time Analysis Bandwidth

· 100% POI 7.20 μs, Dynamic Range 60 dB

· Multi-view for Density, Spectrogram, PvT, and multi trigger and FMT

· Modulation Analysis up to 40 MHz BW (Opt.)

· Reflection Measurement Kit (Opt.)

· EMI Filter and Quasi-Peak Detector Kit(Opt.)

· 10.1 inch Multi-Touch Screen , Mouse and Keyboard supported

· Web Browser Remote Control on PC and Mobile Terminals and File Operation


Анализатор спектра
Модельный ряд SSA3000X


SSA3032X (9 kHz~3.2 GHz)

SSA3021X (9 kHz~2.1 GHz)

Основные х-ки и преимущества:

· -161 dBm/Hz Displayed Average Noise Level (Typ.)

· -98 dBc/Hz @10 kHz Offset Phase Noise (1 GHz, Typ.)

· Total Amplitude Accuracy < 0.7 dB

· 1 Hz Minimum Resolution Bandwidth (RBW)

· Preamplifier Standard

· Up to 3.2 GHz Tracking Generator (Standard)

· Reflection Measurement Kit (Opt.)

· Advanced Measurement Kit (Opt.)

· EMI Pre-compliance Measurements Kit (Opt.)

· 10.1 lnch WVGA (1024x600) Display



Модельный ряд SSA3000X Plus

SSA3021X Plus (9 kHz~2.1 GHz)

SSA3032X Plus (9 kHz~3.2 GHz)

SSA3075X Plus (9 kHz~7.5 GHz)

Основные х-ки и преимущества:

· -165 dBm/Hz Displayed Average Noise Level (Typ.)

· -98 dBc/Hz.@10 kHz Offset Phase Noise (1 GHz, Typ.)

· Level Measurement Uncertainty < 0.7 dB (Typ.)

· 1 Hz Minimum Resolution Bandwidth (RBW)

· Preamplifier Standard

· Tracking Generator (Opt.)

· Analog and Digital Signal Modulation Analysis Mode (Opt.)

· Reflection Measurement Kit (Opt.)

· EMI Filter and Quasi-Peak Detector Kit(Opt.)

· 10.1 lnch Multi-Touch Screen , Mouse and Keyboard supported

· Web Browser Remote Control on PC and Mobile Terminals and File Operation


Векторный Анализатор Сетей
Модельный ряд SVA1000X

SVA1015X (9 kHz~1.5 GHz)

SVA1032X (9 kHz~3.2 GHz)

SVA1075X (9 kHz~7.5 GHz)

Основные х-ки и преимущества:

· Vector Network Analyzer Frequency Range from 100 kHz up to 7.5 GHz

· -165 dBm/Hz Displayed Average Noise Level (Typ.)

· -98 dBc/Hz.@10 kHz Offset Phase Noise (1 GHz, Typ.)

· Level Measurement Uncertainty < 0.7 dB (Typ.)

· 1 Hz Minimum Resolution Bandwidth (RBW)

· Preamplifier Standard

· Tracking Generator Standard

· Distance To Fault (Opt.)

· Analog and Digital Signal Modulation Analysis Mode (Opt.)

· EMI Filter and Quasi-Peak Detector Kit(Opt.)

· Advanced Measurement Kit (Opt.)

· 10.1 lnch Multi-Touch Screen , Mouse and Keyboard supported

· Web Browser Remote Control on PC and Mobile Terminals and File Operation

www.siglent.com

Пробники и аксессуары

Тип
Пассивные пробники
Токовые пробники


	Модельl
	Картинка
	Спецификации

	
	
	


PB470,70 MHz bandwidth

PB470

PP510,100 MHz bandwidth

PP510

PP215,200 MHz bandwidth

PP215

PP430,300 MHz bandwidth

PP430

1 X/10 X decay, 1 M/10 Mohm, 300 V/600 V

	
	Bandwidth 250 MHz, fixed 10 X decay, the rise time of about 1.2 ns, input

	PB925
	capacitance: 16 pF, compensation range: 10 pF-35 pF, input impedance 10

	
	MΩ, length 120 cm, safe voltage levels: CAT II 1000 V, CAT III 600 V

	
	

	
	Bandwidth 300 MHz, fixed 10 X decay, the rise time of about 1 ns, input

	PB830
	capacitance: 16 pF, compensation range: 10 pF-20 pF, input impedance 10

	
	MΩ, length 140 cm, safe voltage levels: CAT II 1000 V, CAT III 600 V

	
	

	
	Bandwidth: DC-600 kHz; Current range L, H; Maximum operation current 10

	CPL5100
	A(L)/ 100 A(H); Max operation voltage 600 V ; DC Accuracy: 3%±50 mA (L)

	
	; 1500 mA~40 A Peak: 4%±50 mA; 40 A~100 A Peak: ±15% Maximum (H);

	
	

	
	9 V alkaline layer-built battery/ 15 H

	
	

	
	Bandwidth: 100 KHz; Maximum continuous current 20 Arms; Peak current

	CP4020
	60 A; Switching ratio: 50 mV/A; 5 mV/A;

	
	DC measurement accuracy: 50 mV/A (0.4 A-10 ApK) ± 2%;

	
	

	
	5 mV/A (1 A-60 ApK)±2%; 9 V battery-powered

	
	

	
	Bandwidth: 1 MHz; Maximum continuous current 50 Arms;

	
	Peak current 140 A; Switching ratio: 500 mV/A; 50 mV/A;

	CP4050
	DC measurement accuracy: 500 mV/A (20 mA-14 ApK) ±3%±20 mA;

	
	50 mV/A (200 mA-100 ApK )±4%± 200 mA;

	
	50 mV/A (100 A-140 ApK)±15% max; 9 V battery-powered

	
	

	
	Bandwidth: 150 KHz; Maximum continuous current 70 Arms;Peak current

	CP4070
	200 A; Switching ratio: 50 mV/A; 5 mV/A;

	
	DC measurement accuracy: 50 mV/A (0.4 A-10 ApK) ±2%,

	
	

	
	5 mV/A (1 A-200 ApK)±2%;9 V battery-powered

	
	

	
	Bandwidth: 300 KHz; Maximum continuous current 70 Arms;

	
	Peak current 200 A;Switching ratio：100 mV/A;10 mV/A;

	CP4070A
	DC measurement accuracy：100 mV/A(50 mA-10 ApK) ±3%±50 mA;

	
	10 mV/A (500 mA-40 ApK) ±4%±50 mA;

	
	10 mV/A (40 A-200 ApK) ±15%max; 9 V battery-powered

	
	

	
	Bandwidth: 50 MHz; Maximum continuous current 30 Arms;

	CP5030
	Peak current 50 A;Switching ratio: 100 mV/A; 1 V/A;

	
	AC/DC measurement accuracy: 1 A(±1%±1 mA);

	
	

	
	100 mV/A(±1%±10 mA); Standard DC12 V/1.2 A power adapter

	
	

	
	Bandwidth: 100 MHz; Maximum continuous current 30 Arms;

	CP5030A
	Peak current 50 A;Switching ratio: 100 mV/A; 1 V/A;

	
	AC/DC measurement accuracy: 1 A (±1%±1 mA);

	
	

	
	100 mV/A (±1%±10 mA); Standard DC12 V/1.2 A power adapter

	
	

	
	Bandwidth: 12 MHz; Maximum continuous current 150 Arms; Peak current

	CP5150
	300 A; Switching ratio: 100 mV/A; 1 V/A;

	
	AC/DC measurement accuracy: 100 mV/A (±1%±1 mA);

	
	

	
	10 mV/A (±1%±10 mA); Standard DC 12 V/1.2 A power adapter

	
	

	
	Bandwidth: 5 MHz; Maximum continuous current 500 Arms;

	CP5500
	Peak current 750 A; Switching ratio: 100 mV/A; 10 mV/A;

	
	AC/DC measurement accuracy: 100 mV/A (±1%±1 mA);

	
	

	
	10 mV/A (±1%±10 mA); Standard DC 12 V/1.2 A power adapter


www.siglent.com

	Type
	Model
	Picture
	Specifications

	
	
	
	

	
	
	
	Bandwidth: DC-50 MHz, Rise time ≤7 ns; DC Accuracy ±2%; Attenuation

	
	DPB1300
	
	Ratio 50 X/500 X;

	
	
	
	Max Differential Test Voltage (DC + Peak AC) 50 X: ±130 V, 500 X:±1300 V;

	
	
	
	

	
	
	
	DC 12 V/1.2 A Power

	
	
	
	

	
	
	
	Bandwidth: 50 MHz; Maximum input differential voltage 800 V (DC + Peak

	
	DPB4080
	
	AC); Range selection (attenuation ratio):10 X/100 X; Accuracy: ±1%;

	
	
	
	Standard DC 9 V/1 A power adapter

	
	
	
	

	
	
	
	Bandwidth: 70 MHz; Maximum input differential voltage 1500 V (DC +

	
	DPB5150
	
	Peak AC); Range selection (attenuation ratio): 50 X/500 X; Accuracy: ±2%;

	Высоковольтные дифференциальные пробники
	
	
	Standard 5 V/1 A USB power adapter

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	Bandwidth: 100 MHz; Maximum input differential voltage 1500 V (DC +

	
	
	
	

	
	DPB5150A
	
	Peak AC); Range selection (attenuation ratio): 50 X/500 X; Accuracy: ±2%;


	
	
	
	Standard 5 V/1 A USB power adapter

	
	
	
	

	
	
	
	Bandwidth: 70 MHz; Maximum input differential voltage 7000 V (DC + Peak

	
	DPB5700
	
	AC); Range selection (attenuation ratio): 100 X/1000 X; Accuracy: ±2%;

	
	
	
	Standard 5 V/1 A USB power adapter

	
	
	
	

	
	
	
	Bandwidth: 100 MHz; Maximum input differential voltage 7000 V (DC + Peak

	
	DPB5700A
	
	AC);Range selection (attenuation ratio): 100 X/1000 X; Accuracy: ±2%;

	
	
	
	Standard 5 V/1 A USB power adapter

	
	
	
	

	Высоковольтные пробники
	
	
	Bandwidth: 40 MHz; Maximum measurement voltage DC: 10 KV;  AC(rms):

	
	HPB4010
	
	7 KV (sine); AC (Vpp): 20 KV (Pulse); attenuation ratio1:1000; Accuracy:

	
	
	
	

	
	
	
	≤3%

	
	
	
	

	
	
	
	

	
	SPL1016
	
	Logic Probe for SDS1000X+ series, 16-channel, 500 MSa/s

	Логические пробники
	
	
	

	
	SPL2016
	
	Logic Probe for SDS2000X and SDS5000X series , 16-channel, 500 MSa/s

	
	
	
	

	
	
	
	

	Логический анализатор
	SLA1016
	
	16 logic analyzer hardware module, suitable for SDS1000X-E 4 channel

	
	
	
	series and SDS2000X-E oscilloscope.

	
	
	
	

	
	
	
	

	Near-Field
	
	
	Near Field Probe: H field probe sets (20 mm, 10 mm, 5 mm) , E field probe (5

	
	SRF5030T
	
	mm), 300 kHz~3.0 GHz; distinguished within 10 cm range of the magnetic

	Probe
	
	
	

	
	
	
	field; for EMI radiation interference and the intensity detector

	
	
	
	

	
	
	
	

	Isolated  Front
	
	
	Realize isolation among ordinary oscilloscope channels, isolation  between

	
	ISFE
	
	the measured signal and ground, use USB 5 V power supply, plug and play,

	End
	
	
	the maximum input voltage of up to ± 600 Vpk

	
	
	
	

	
	
	
	

	
	
	
	The USB Device interface extends into the GPIB interface, USB-GPIB adapter

	GPIB
	USB-GPIB Adapter
	
	can more easily complete the task of the operation command through

	
	
	
	the GPIB, USB follow the USB2.0 specification, GPIB follow the IEEE488.2

	
	
	
	

	
	
	
	standard

	
	
	
	

	Demo Board
	STB3
	
	Output signals include square waves, sine, AM, pulse, PWM, fast edge, I2C,

	
	
	
	CAN, LIN signal etc

	
	
	
	

	
	
	
	



www.siglent.com

Type
Model
Picture
Specifications

	Deskew Fixture
	DF2001A
	
	Supporting power analysis software for calibration phase voltage and current

	
	
	
	probes generated during transmission

	
	
	
	

	
	
	
	

	
	N-BNC-2L
	
	N-BNC cable for SSA3000X Series; 2 GHz bandwidth

	
	
	
	

	
	N-N-6L
	
	N-N cable for SSA3000X Series; 6 GHz bandwidth

	Cable
	
	
	

	
	N-SMA-6L
	
	N-SMA cable for SSA3000X Series; 6 GHz bandwidth

	
	
	
	

	
	N-N-18L
	
	N(M)-N(M) cable for SSA3000X, SSA3000X Plus, SSA3000X-R, SVA1000X

	
	
	
	series, 100cm, 18 GHz bandwidth

	
	
	
	

	
	
	
	

	
	N-SMA-18L
	
	N(M)-SMA(M) cable for SSA3000X, SSA3000X Plus, SSA3000X-R, SVA1000X

	
	
	
	series, 100cm, 18 GHz bandwidth

	
	
	
	

	
	
	
	

	Reflection
	RB3X25
	
	VSWR bridge: (1 MHz~2.5 GHz), N (M) -N (M) adaptor (2 pcs)

	Bridge
	
	
	

	
	
	
	

	
	
	
	

	SSA3000X
	
	
	Utility Kit for SSA3000X Series: N (M) -SMA (M) cable, N (M) -N (M) cable,

	
	UKitSSA3X
	
	N (M) -BNC (F) adaptor (2 pcs), N (M) -SMA (F) adaptor (2 pcs), 10 dB

	Utility Kit
	
	
	

	
	
	
	attenuator;

	
	
	
	

	
	
	
	

	WIFI Adapter
	TL_WN725N
	
	USB-WIFI adapter, suitable for SDS1000X-E 4 channel series oscilloscope

	
	
	
	

	
	
	
	Output Sine, Square, Ramp, pulse, Noise, DC and 45 built-in waveforms.

	USB AWG
	SAG1021I
	
	The arbitrary waveforms can be accessed and edited by the EasyWave PC

	Module
	
	
	software.

	
	
	
	

	
	
	
	Isolated voltage ±42 Vpk.

	
	
	
	

	
	BAG-S1
	
	Soft Carry Case for SDS1000DL+/CML+, SDS1000X, SDS1000X-E,

	
	
	
	SDS2000X-E Series

	
	
	
	

	Carry Bag
	
	
	

	
	BAG-S2
	
	Soft Carry Case for SDS2000X, SDS5000X, SSA3000X, SVA1000X,

	
	
	
	

	
	
	
	SSA3000X Plus

	
	
	
	

	
	
	
	



www.siglent.com

Type
Model
Picture
Specifications

	
	
	
	Rackmount kit for two intruments , compatible with the SDG800, SDG1000,

	
	SDG-2-RMK
	
	SDG1000X, SDG2000X, SDG5000 and SDG6000X series function generator

	
	
	
	and SDM3045X, SDM3055, SDM3065X digital multimeter

	
	
	
	

	
	SDS1X-E-RMK
	
	The height is 4U, suitable for SDS1000X-E oscilloscope

	
	
	
	

	
	
	
	Single instrument rack mount kit

	
	SDG-RMK
	
	19″ shelf design is compatible with the SDG800, SDG1000, SDG1000X,

	
	
	
	SDG2000X, SDG6000X, and SDG5000 series function generators as well as

	
	
	
	

	
	
	
	the SDM3000 series of DMMs

	Rack Mount
	
	
	

	
	SSA-RMK
	
	Single Instrument rack mount kit, suit for SSA3000X, SVA1000X

	
	
	
	

	
	
	
	

	
	SPD3000-RMK
	
	Compatible with SPD3000X / X-E / D / S / C models.4U rack height

	
	
	
	

	
	SDS2000-RMK
	
	19″ rack mount kit for a single SDS2000 or SDS2000X series oscilloscopes

	
	
	
	

	
	
	
	Increase the voltage and current output capabilities to generators like the

	
	
	
	SIGLENT SDG family.

	
	
	
	Typical Input Impedance: 15kΩ

	
	
	
	Input:

	
	
	
	+/- 6.5V Vpp (Gain: X1)

	Amplifier
	SPA1010
	
	+/- 1.3 V (Gain: X10)

	
	
	
	Gain: Switched 10V/1V and 10V/10V

	
	
	
	

	
	
	
	Output Voltage: 25.4 Vpp

	
	
	
	Output Current: 1.12 A

	
	
	
	Slew Rate: ≥ 90 V/μs

	
	
	
	Overshoot: ≤ 4%

	
	
	
	Compatible with all SIGLENT SDG series generators

	
	
	
	

	
	F503ME
	
	Mechanical Calibration Kit: Open(M), Short(M), Match(M,50),

	
	
	
	Through(F-F), 4.5 GHz

	
	
	
	

	
	
	
	

	
	F503FE
	
	Mechanical Calibration Kit: OSLT, DC - 4.5 GHz, N-Female connector

	
	
	
	

	
	F504MS
	
	Mechanical Calibration Kit: OSLT, DC - 9 GHz, N-Male connector

	
	
	
	

	
	F504FS
	
	Mechanical Calibration Kit: OSLT, DC - 9 GHz, N-Female connector

	VNA Calibration
	
	
	

	Kit
	F603ME
	
	Mechanical Calibration Kit: OSLT, DC - 4.5 GHz, 3.5mm SMA-Male

	
	
	
	

	
	
	
	connector

	
	
	
	

	
	
	
	

	
	F603FE
	
	Mechanical Calibration Kit: Open(M), Short(M), Match(M,50),

	
	
	
	Through(F-F), 4.5 GHz, SMA-type

	
	
	
	

	
	
	
	

	
	F604MS
	
	Mechanical Calibration Kit: OSLT, DC - 9 GHz, 3.5mm SMA-Male

	
	
	
	connector

	
	
	
	

	
	
	
	

	
	F604FS
	
	Mechanical Calibration Kit: OSLT, DC - 9 GHz, 3.5mm SMA-Female

	
	
	
	connector

	
	
	
	

	
	
	
	



www.siglent.com


About SIGLENT

SIGLENT is an international high-tech company, concentrating on R&D, sales, production and services of electronic test & measurement instruments. SIGLENT first began developing digital oscilloscopes independently in 2002. After more than a decade of continuous development, SIGLENT has extended its product line to include digital oscilloscopes, function/arbitrary waveform generators, RF generators, digital multimeters, DC power supplies, spectrum analyzers, vector network analyzers, isolated handheld oscilloscopes, electronic load and other general purpose test instrumentation. Since its first oscilloscope, the ADS7000 series, was launched in 2005, SIGLENT has become the fastest growing manufacturer of digital oscilloscopes. We firmly believe that today SIGLENT is the best value in electronic test & measurement.

Headquarters:

SIGLENT Technologies Co., Ltd

Add: Bldg No.4 & No.5, Antongda Industrial

Zone, 3rd Liuxian Road, Bao'an District,

Shenzhen, 518101, China

Tel: + 86 755 3688 7876

Fax: + 86 755 3359 1582

Email: sales@siglent.com

Website: int.siglent.com

USA:

SIGLENT Technologies America, Inc

6557 Cochran Rd Solon, Ohio 44139

Tel: 440-398-5800

Toll Free: 877-515-5551

Fax: 440-399-1211

Email: info@siglent.com

Website: www.siglentna.com

Europe:

SIGLENT Technologies Germany GmbH

Add: Liebigstrasse 2-20, Gebaeude 14,

22113 Hamburg Germany

Tel: +49(0)-819-95946

Fax: +49(0)-819-95947

Email: info-eu@siglent.com

Website: www.siglenteu.com



Follow us on

Facebook: SiglentTech

PS2020MAR-E01A

